Items to be funded—AAT property

January 2, 2011

Items to be funded are segregated into four major expense areas: Site work/infrastructure, Structure - Main Barn (repair and upgrade), Other Structures (e.g., hoop houses), and Equipment.  These categories and cost estimates are shown in the table below.

| ## Item | Notes | Total cost |
| --- | --- | --- |
| ### Site work/infrastructure | Water well, parking lot, security, and so on for the site. | $85,000.00 |
| - Equipment | Tractor and other farming equipment. | $15,000.00 |
| Miscellaneous expenses |  |  |
| TOTAL |  | $100,000,00 |

Site work, infrastructure –

| ## Item | Notes | Total cost |
| --- | --- | --- |
| ### Parking and driveway | Grade parking lot (18,000 square feet) and driveway (200 feet long by 12 = 2,400 square feet), and limestone for all (2 inches deep = 130 cubic yards). | $30,000 |
| Well | Estimate based upon review of multiple websites. | $10,000 |
| Septic Field | Price assumes the property perks reasonably well (i.e., no engineered field). | $15,000 |
| Electrical (entire site) | Jeff Holden WAG | $20,000 |
| Security | Install security system in barn (2 main levels) with pass codes. Installation cost is low; maintenance cost will be $500+ a year. Price reflects installation only and is assumed to be roughly 2 times the cost of a residential installation. | $2,500 |
| Fencing | 1,000 feet of galvanized steel, 6-foot high fencing to encircle portions of property. Price assumes $5/lineal foot (per review of multiple websites) and volunteer labor to install. | $5,000 |
| Removal of Barn | Tear down and removal of smaller barn (Jeff Holden WAG?). | $2,500 |
| TOTAL |  | $85,000.00 |

- Parking and driveway — engineering, permits, grading, gravel, etc. – Will want parking for at least 50 vehicles to handle workers, shoppers for Farmers Market, classroom use, etc.  A space 120 by 150 feet will provide parking for 50+ vehicles.  Parking lot would be a level graded surface with 2-inch limestone topping.  This assumes either a minimum of stone base (i.e., we do not grade deep and fill with stone) and/or we complete some work using volunteer labor.  If the entire job is contracted out and a 6-inch grade with gravel fill is completed, the total cost is approximately $48,000.

- Well — Agricultural and potable – Cribley is a local driller – click here for their website.  Cost will depend on the depth (calculate at $12/foot), what the drilling has to contend with (e.g., granite will cost more than dirt), and piping/plumbing, pumps, labor.  The price of this will not be known until a qualified drilling company provides an estimate and actually drills.

- Septic field or other water disposal.  Will want a commercial grade system (e.g., 5,000+ gallons or about 5+ times the size of a typical home system).  Here is a link to the Washtenaw County Sewage Requirements.  Price estimate is based upon high-end residential cost multiplied by four.

- Electrical — Service, fixtures, etc.  Cost of having the entire site wired for electrical including, but not limited to the main barn and other structures as needed.

- Security – Installation of basic security in buildings is relatively inexpensive; the more expensive component is in the annual maintenance fee.  Install basic pass-code security in the main barn’s two levels.  Consider security for farm equipment (e.g., tractor).

- Fencing – Fencing costs will vary significantly based upon length, material used (e.g., galvanized steel, wood, vinyl, cloth), height, labor costs.  After review of multiple websites, pricing generally will start at $5/lineal foot (assumes we supply volunteer labor) and go up from there.  If installed by a contractor the pricing will start at $8/lineal foot and go up.

- Removal of 1 barn – The smaller barn is not repairable; might be able to salvage timbers from it.  Or, if there is a solid concrete pad, it might be converted into a pavilion?  Or the basis for a wash-and-pack shed?

Equipment

- Tools and equipment – Unknown.

- Tractor – Purchase a single low end commercial tractor (25 HP).  We will want to get a reliable, useful (i.e., have associated equipment), tractor that is easy to get replacement parts, and to service.  Tractors, if taken care of properly, will last for decades; therefore, it is best to purchase a quality tractor and quality attachments.  Having a tractor with equipment that works and is reliable is worth extra money up front.

New tractors, with no attachments, can be found for under $10,000.  Pricing will likely be between $12,000 and $15,000 with one or two common attachments (e.g., loader, mower).  For a used tractor prices will range from $2,500 and up (check this website for used tractors).

Cost information in the table below assumes associated equipment is purchased new:

| Tractor Attachment | Notes | Cost (new) |
| --- | --- | --- |
| Snowplow | Could be a front-end plow or a blower. | $2,500 to $5,000 |
| Front loader |  | $3,000 to $5,000 |
| Backhoe | Backhoes are among the most expensive attachments for a tractor. Additionally, not all tractors can support backhoes. | $6,000 |
| Grass mower | Several varieties including rough cut and brush mowers for cutting through heavy growth and finish mowers for more detailed work. | $2,500 to $5,000 |
| Box blades | Box Blades scrape or push earth, for grading, leveling, or bulldozing applications. | $2,500 to $5,000 |
| Agricultural tasks | Tillers, plows, and disk harrows are excellent tools for preparing fields. | $2,500 each |
| Total |  | $15,000 |

Possible tractor attachments with price ranges

Other tractor attachments – There are numerous other tractor attachments such as landscape rakes, spreaders, forks, grapples, or hay bailers.

- Utility vehicle (JMH added – dollar amounts NOT included in cost estimate tables) – This describes the small golf cart like vehicle that can be used to haul small loads, transport people, and so on.  Stripped-down personnel carriers can be found for as little as $3,000, while fully configured utility vehicles can reach $20,000.  More common prices range from $8,000 to $12,000.

One of the most important options is the carry bed: you can upgrade the size, depth, or type of cargo bed on your vehicle, including one that tilts or folds down.  Models with four-wheel drive will also bump up your total cost, but are much better for getting around on loose terrain or mud.

Utility vehicles don't usually have individual keys: the same key will operate all cars of the same model.  Security concerns – it is possible to upgrade with to individual keys.  Or lock the vehicles in a garage or chain them together.

Per Building Journal Online Calculator for Ann Arbor Michigan (http://www.buildingjournal.com/asphalt-driveway-estimating.html).

Per Home Building, the fun times guide website (http://homebuilding.thefuntimesguide.com/2007/06/how_much_cost_drill_water_well.php).

Per Fixr.com website (http://www.fixr.com/costs/install-septic-tank-system).

Per Fixr.com website (http://www.fixr.com/costs/home-security-system).

Per BuyerZone.com used/new tractor discussion (http://www.buyerzone.com/industrial/tractors/bg-tractor-pricing/).

Per BuyerZone.com Utility vehicle discussion (http://www.buyerzone.com/residential/golf-cars/bg-golf-car-pricing/).