## Sheet1
BTU Loss Comparison between Conventional and Energy Efficient Greenhouse
Night-time Loss - 14' X 40' double poly - maintaining 55oF Temp
Surface | Area | Insulation | Delata T | Heat
| Sq Ft. | R Factor | Deg F | Loss
Floor | 560 | 10 | 5 | 280 | BTU/H | 280 | BTU/H |  | 14 X 40
Plastic 6 mill double poly | 1126 | 1.7 | var | 662.3529 | BTU/H/F | 662.3529 | BTU/H/deg |  | (24 X 40) | (2 X .66 X 9 X 14)
Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Night Hours | 14 | 13 | 12 | 10 | 9.5 | 9 | 9 | 9.5 | 10 | 12 | 13 | 14
Mean Temp | 25.5 | 27.9 | 37.6 | 46.8 | 56.3 | 63.9 | 67.6 | 66.6 | 60.4 | 49.6 | 40.1 | 30.4
Low Temp | 15.6 | 17.2 | 25.9 | 34.2 | 43.5 | 51.4 | 56.5 | 55 | 48.7 | 37.2 | 29.7 | 20.8
Avg Night-time. Temp | 20.55 | 22.55 | 31.75 | 40.5 | 49.9 | 57.65 | 62.05 | 60.8 | 54.55 | 43.4 | 34.9 | 25.6
Est. Loss/Day (BTU) | 323372.8235 | 283053.5882 | 188156.4706 | 98841.1765 | 34751 | -13277.1176 | -39506.2941 | -33835.6471 | 5780.5882 | 95559.5294 | 176712.8235 | 276544.4706
| Total BTU Loss per year |  |  | 44835451.2353
Night-time Loss - 23 X 25 - Energy Efficient Greenhouse
Surface | Jan: Area; Feb: Insulation; Mar: Delata T; Apr: Heat
| Sq Ft. | R Factor | Deg F | Loss
Floor | Jan: 575; Feb: 10; Mar: 5; Apr: 287.5; May: BTU/H; Aug: 23 X 25
Below Grade Walls | 434 | 30 | 5 | 72.3333 | BTU/H | 359.8333 | BTU/H | 4'X71' + 6'X25
Above Grade Walls - back | Jan: 150; Feb: 30; Mar: var; Apr: 5; May: BTU/H/F; Aug: 6'X25'
Double 8mm Polycarbonate | 790 | 1.72 | var | 459.3023 | BTU/H/F | 464.3023 | BTU/H/deg | 25'X22' + | 10'X20 + 40
Month | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Night Hours | 14 | 13 | 12 | 10 | 9.5 | 9 | 9 | 9.5 | 10 | 12 | 13 | 14
Mean Temp | 25.5 | 27.9 | 37.6 | 46.8 | 56.3 | 63.9 | 67.6 | 66.6 | 60.4 | 49.6 | 40.1 | 30.4
Low Temp | 15.6 | 17.2 | 25.9 | 34.2 | 43.5 | 51.4 | 56.5 | 55 | 48.7 | 37.2 | 29.7 | 20.8
Avg Night-time. Temp | 20.55 | 22.55 | 31.75 | 40.5 | 49.9 | 57.65 | 62.05 | 60.8 | 54.55 | 43.4 | 34.9 | 25.6
Est. Loss/Day (BTU) | 228970.6783 | 200543.7694 | 133858.3488 | 70922.1705 | 25913.8643 | -7835.1105 | -26221.4826 | -22164.6415 | 5687.6938 | 68948.8837 | 126000.031 | 196144.5039
| Total BTU Loss per year |  |  | 31962447.0543