|  |  |  |  |
| --- | --- | --- | --- |
| **Building** | **Square footage** | **Potential water catchment****1” rain (gallons)** | **Potential water catchment****50" annual rainfall (gallons)** |
| Barn | 2400 | 1197 | 59,844 |
| House | 2120 | 1057 | 52,862 |
| Stationary coop | 288 | 144 | 7,181 |
| Mobile coop | 120 | 60 | 2,992 |
| Playhouse | 120 | 60 | 2,992 |
| Shed | 180 | 90 | 4,488 |
| Pig shelter | 64 | 32 | 1,596 |
| Corral | 120 | 60 | 2992 |